SECTION 10 51 13

METAL LOCKERS

PART 1 – GENERAL

1.01	SECTION INCLUDES

A.	Heavy Duty Knocked Down Duffel Lockers.

1.02	REFERENCES

A.	ADAAG – Americans with Disabilities Act, Accessibility Guidelines.

1.03	SUBMITTALS

A.	Submit under provisions of Section 01 33 00.

B.	Shop Drawings: Show the following:

1.	Dimensioned drawings including plans, elevations, and sections to 				show locker locations and interfaces with adjacent substrates.

2.	Details of assembly, erection, anchorage and clearance requirements.

C.	Selection Samples: For each finish product specified, two complete sets of 			color chips representing manufacturer's full range of available colors and 			finishes.

1.04	DELIVERY, STORAGE, AND HANDLING

A.	Store products in manufacturer's unopened packaging until ready for installation.

B.	Protect locker finish and adjacent surfaces from damage.

PART 2 – PRODUCTS

2.01	MANUFACTURERS

A.	Acceptable Manufacturer: Penco Products, Inc., which is located at: 1820 Stonehenge Drive, Greenville, NC 27858; Toll Free Tel: 800-562-1000; Fax: 800-248-1555; Email:general@pencoproducts.com; Web: www.pencoproducts.com

B.	Lockers shall be GREENGUARD Gold Certified by UL Environment through the GREENGUARD Certification Program.

2.02	MATERIALS

A.	Steel: Prime grade mild cold-rolled sheet steel free from surface imperfection, 			capable of taking a high-grade enamel finish and in compliance with ASTM A1008.

B.	Steel: Sheet steel components shall be fabricated using zinc-coated steel free from 		surface imperfection, capable of taking a high-grade enamel finish and in 			compliance with ASTM A879.

C.	Bolts and Nuts: Zinc plated truss fin head bolts and hex nuts.

D.	Provide only metal lockers fabricated in the United States by a single domestic 		manufacturer.

2.03	HEAVY DUTY PERSONAL DUFFEL LOCKERS

A.	Heavy Duty Lockers: All locker body components made of cold rolled steel specially 		formed for added strength and rigidity and to ensure tight joints at fastening points.

B.	Locker Body Construction:  Steel specially formed for added strength and rigidity 		and to ensure tight joints at fastening points.

1.	Sides, Bottoms and Tops:

a.	16 gauge steel.

b. 	Optional side ventilation: Solid or Diamond 3/4 inch (19.5 mm) wide by 1-1/2 inch (38.1 mm) high diamond-shaped perforations

2.	Backs: Solid 18 gauge steel. One-piece through 42 inches (1066.8 mm) wide; supplied as two 24 inch (609.6 mm) panels on 48 inch (1219.2 mm) wide lockers.

3.	Doors:

a.	14 gauge steel.

b.	Standard Ventilation: Solid

c.	Optional Ventilation: Louvers 6 inch (152.4 mm) wide by 3/4 inch high (19.05 mm) high horizontal louvers arranged in two groups of 3. Diamond-shaped perforations 3/4 inch (19.05 mm) wide by 1-1/2 inch (38.1 mm)

4.	Tops and bottoms with three sides formed 90 degrees, the front offset formed 			to be flush with horizontal frame member.

5.	Hole Spacing in Locker Body Construction: Not exceeding 9 inches (228.6 			mm).

6.	Optional factory assembly of locker bodies using rivets.

C.	Locker Doors:  One piece sheet steel.

1.	Provide holes for attaching number plates.

2.	Standard Ventilation: Solid

3.       Optional Ventilation:  Louvers 6 inch (152.4 mm) wide by ¾” high (19.05 mm) high horizontal louvers arranged in two groups of 3. Diamond-shaped perforations 3/4 inch (19.5 mm) wide by 1-1/2 inch (38.1 mm)

D.	Hinges:

1.	Continuous type: 16 gauge piano hinge measuring full height of door. 				Welded to door and attached to locker frame using steel rivets.

2.04	DOOR HANDLES AND LATCHING

A.	Two, Three and Four Tier Lockers:

1.	Cremone Latching: Handle shall be a heavy duty turn handle that engages 			the door frame on three sides. The top and bottom frames are engaged with 			3/8 inch (9.5 mm) steel rods, and a 1/8 inch (3 mm) thick center latch 				engages at the side.

a.       Double door configurations shall consist of a left hinged door secured 				its full length by the right hinged door when latched.

b.       Handle assembly shall be secured to door using a threaded lock nut to 				facilitate adjustment and removal for repair if necessary. Welded 					handle assemblies shall not be accepted.

c.	Double door configurations delivered knocked down will have doors 				shipped separately for attachment on site using supplied hardware.

d.       Provide lock hole cover plate for use with padlocks.

2.06	ACCESSORIES

- Number Plates: Provide each locker with a polished aluminum number plate,

2-1/4 inches (57.15 mm) wide by 1 inch (25.4 mm) high, with black numerals not less than 3/8 inch (9.5 mm) high; attach to face of door with two aluminum rivets.

B.	Locks: Built-in flat key locks; master-key to same series.

C.	Locks: Built-in grooved key locks (pin tumbler); master-key to same series.

D.	Locks: Built-in three-number dialing combination locks capable of at least five different combination changes; provide master key, combination change key, and combination control charts.

E.	Padlocks: Master-keyed three-number dialing combination type padlocks; provide 		master key.

G.	Continuous sloped hoods: 16 gauge steel, slope rise equal to 1/3 of the locker 		depth (18.5 degrees), plus a 1 inch (25.4 mm) vertical rise at front.

1.	Supplied in 72 inch (1828.8 mm) lengths only.

2.	Slip joints without visible fasteners at splice locations.

3.	Provide necessary end closures.

4.	Finish to match lockers.

H.	Finished End Panels: Minimum 16 gauge steel formed to match locker depth and 		height, 1 inch (25.4 mm) edge dimension; finish to match lockers. Install with 			concealed fasteners.

I.	Front Fillers: 20 gauge steel formed in an angle shape, with 20 gauge slip joint 		angles formed in an angle shape with double bend on one leg forming a pocket to 		provide adjustable mating with angle filler.

1.	Attachment by means of concealed fasteners.

2.	Finish to match lockers.

J.	Recess Trim: 18 gauge steel, 3 inch (76.2 mm) face dimension.

1.	Vertical and/or horizontal as required.

2.	Standard lengths as long as practical.

3.	Attach to lockers with concealed clips.

4.	Provide necessary finish caps and splices.

5.	Finish to match lockers.

K.	Benches: Laminated selected hardwood, 1-1/4 inch (31.75 mm) full finished thickness, corners rounded and sanded, surfaces finished with two coats of clear lacquer.

1.	Depth: 9-1/2 inches (241.3 mm) deep.

2.	Depth: 12 inches (304.8 mm) deep.

3. 	Depth: 16 inches (406.4 mm) deep.

4. 	Depth: 18 inches (457.2 mm) deep.

5. 	Depth: 20 inches (508 mm) deep.

6.	Depth: 24 inches (609.6 mm) deep.

7.	Lengths:  As shown.

L.	Heavy-Duty Bench Pedestals: Steel tubing with 11 gauge steel flanges welded to 		each end, 16-1/4 inches (412.75 mm) high, finish to match lockers.

M.	Stainless Steel Free-Standing Bench Pedestals: 2-inch (50.8 mm) diameter brushed 16 gauge stainless steel formed into a trapezoid, 14 inch (355.6 mm) wide bottom with two 5/16 inch (7.9 mm) diameter holes, top flange with four 5/16 inch (7.9 mm) diameter holes for fastening to bench

2.07	FABRICATION

A.	Fabricate lockers square, rigid, without warp, with metal faces flat and free of 			distortion.

- Knock-Down Lockers: Fabricate lockers on the one wide unit principle, each locker with individual door and frame, individual top, bottom, back, and sides. 48” (1219.2 mm) wide backs come as two 24” (609.6 MM) wide pieces. Verify dimensions and arrangement before fabrication.

C.	Finish: Enamel powder coat paint finish electrostatically applied and properly cured 		to manufacturer’s specifications for optimum performance. Finishes containing 		volatile organic compounds and subject to out-gassing are not acceptable. Locker 		exterior and interior shall be painted the same color.

1.	Powder Coat - Dry Thickness:  1 to 1.2 mils.

2.	Powder Coat Plus - Dry Thickness:  2 to 2.2 mils.

3.	Color:  As selected from manufacturer's standard colors.

4.	Special Finish

a. Custom color

b. Anti-Graffiti

c. Anti-Microbial

d. TGIC

e. Ultra-Weatherable.

PART 3 - EXECUTION

3.01	EXAMINATION

A.	Do not begin installation until substrates and bases have been properly prepared.

B.	If substrate and bases are the responsibility of another installer, notify Architect of 		unsatisfactory preparation before proceeding.

3.02	INSTALLATION

A.	Install metal lockers and accessories at locations shown in accordance with 			manufacturer's instructions.

B.	Install lockers plumb, level, and square. Work is not to progress until site meets 		necessary conditions.

C.	Anchor lockers to floor and/or wall at 36 inches (914.4 mm) or less, as recommended by the manufacturer.

D.	Bolt adjoining locker units together to provide rigid installation.

E.	Install sloping tops and metal fillers using concealed fasteners. Provide flush 			hairline joints against adjacent surfaces.

F.	Install benches by fastening bench tops to pedestals and securely anchoring to the 		floor using appropriate anchors for the floor material.

3.03	ADJUSTING AND CLEANING

A.	Adjust doors and latches to operate without binding. Verify that latches are 			operating satisfactorily.

B.	Adjust built-in locks to prevent binding of dial or key and ensure smooth operation 		prior to substantial completion.

C.	Touch-up with factory-supplied paint and repair or replace damaged products before 		substantial completion.

3.04	PROTECTION

A.	Protect installed products until completion of project.

END OF SECTION

Penco Products, Inc. reserves the right to vary specifications consistent with a policy of continuous product improvement.